- STATE OF MAINE REQUEST FOR PROPOSALS

- RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY

| RFP NUMBER AND TITLE: | RFP#202412220: 2025 National Coastal Condition Assessment Survey for Maine Marine Waters |
| --- | --- |
| RFP ISSUED BY: | Department of Environmental Protection |
| SUBMITTED QUESTIONS DUE DATE: | January 13, 2025 |
| QUESTION & ANSWER SUMMARY ISSUED: | January 17, 2025 |
| PROPOSAL DUE DATE: | January 27, 2025, no later than 11:59 pm local time |
| PROPOSALS DUE TO: | Proposals@maine.gov |
| Unless specifically addressed below, all other provisions and clauses of the RFP remain unchanged. |  |

Provided below are submitted written questions received and the Department’s answer.

| 1 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Can resumes be included in the proposal submittal? |
|  | Answer |  |
|  | Yes, resumes of relevant staff may be included in the proposal. |  |

| 2 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | We also don’t see turbidity measurements in the FOM. Include as Sonde sensor? |
|  | Answer |  |
|  | Turbidity measurements will not be required as part of the 2025 NCCA and are not mentioned in the 2020 FOM. However, DEP would prefer turbidity be measured via a sonde probe and included in data collected as part of the NCCA field effort. These data are useful to the department. |  |

| 3 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Does the Sonde require a chlorophyll sensor? We don’t recall from 2020 and don’t see called out in 2020 FOM. |
|  | Answer |  |
|  | Chlorophyll measurements will not be required as part of the 2025 NCCA and are not mentioned in the 2020 FOM. However, DEP would prefer chlorophyll be measured via a sonde probe and included in data collected as part of the NCCA field effort. These data are useful to the department. |  |

| 4 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Please confirm the length of the in-person training and online training videos. |
|  | Answer |  |
|  | Online training videos and follow up quizzes are expected to require a total of approximately 4 hours to complete. In-person training will require two to two- and one-half days on site, plus travel time to the training location. Previous training took place in Portsmouth, NH, and although not confirmed at present, this location is the preferred location based on accessibility to EPA Region 1 states and allows excellent water access and launching facilities for onboard training. |  |