- STATE OF MAINE REQUEST FOR PROPOSALS

- RFP SUBMITTED QUESTIONS & ANSWERS SUMMARY

| RFP NUMBER AND TITLE: | 202407140 Cell Phone Booster for York Judicial Center |
| --- | --- |
| RFP ISSUED BY: | Maine Judicial Center |
| SUBMITTED QUESTIONS DUE DATE: | 29 August, 2024 |
| QUESTION & ANSWER SUMMARY ISSUED: | 30 August, 2024 |
| PROPOSAL DUE DATE: | 9 September, 2024 |
| PROPOSALS DUE TO: | Proposals@maine.gov |

Provided below are submitted written questions received and the Department’s answer.

| 1 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | What is the total capacity of the building? |
|  | Answer |  |
|  | Capacity as determined by the State Fire Marshal is 1,011 people. |  |

| 2 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Can full scale drawings be provided? |
|  | Answer |  |
|  | Yes, they have been provided via an amendment. They can be found here. |  |

| 3 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Are the ceilings in the building drop ceilings? |
|  | Answer |  |
|  | Yes, a majority of the rooms have drop ceilings. The court rooms are not fully drop ceiling. |  |

| 4 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Will power be provided to the installed systems? |
|  | Answer |  |
|  | Yes, power will be provided in each location. |  |

| 5 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Will the systems need UPS (uninterrupted power supply) installed? |
|  | Answer |  |
|  | Yes, the MJB would prefer a UPS be installed with the system. |  |

| 6 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Is there a communication room for racks to be installed? |
|  | Answer |  |
|  | Yes, space will be provided in the communication rooms for stacks to be installed. |  |

| 7 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Is there roof access? |
|  | Answer |  |
|  | Yes |  |

| 8 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Are you looking for total coverage of the entire building? |
|  | Answer |  |
|  | Yes, while the primary focus is providing cell services to the public, we would also like the benefits of the installation to encompass staff. |  |

| 9 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Is there a conduit that can be installed in the control room? |
|  | Answer |  |
|  | Yes there is. |  |

| 10 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Are fibers available between rooms? |
|  | Answer |  |
|  | No, fibers/cables must be provided along with installation. |  |

| 11 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Is this work to be done during regular business hours? |
|  | Answer |  |
|  | The MJB has an admin week scheduled for late October during which the courts are closed to the public. It is our hope that the work can be completed during that time frame. |  |

| 12 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Are there primary carriers you would like prioritized for cost purposes? |
|  | Answer |  |
|  | The primary carriers for the area are US Cellular, Verizon, T Mobile, and AT&T. |  |

| 13 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | We are asking for 100% Equipment and 30% of labor at start of contract. Remaining 70% labor balance due upon installation completion. |
|  | Answer |  |
|  | The State of Maine does not pay for work in advance. |  |

| 14 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Is any special equipment needed? (Lifts, extended ladders, hazardous area’s, etc…) |
|  | Answer |  |
|  | Lifts should not be necessary, should they be necessary, they will be the responsibility of the vendor to provide. |  |

| 15 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | Any known issues with cable pulling, roof penetrating options or anything that need to be disclosed to the installers? |
|  | Answer |  |
|  | Roof Penetration has been avoided in the past, there are no known issues with cable pulling. |  |

| 15 | RFP Section & Page Number | Question |
| --- | --- | --- |
|  |  | What is the total Sq. Ft. of the coverage needed? |
|  | Answer |  |
|  | The square footage of the building is approximately 118,000 Sq. Ft.. |  |