## A
MPS System Losses
Loss Factors by Voltage Level
|  | Winter | Non-Winter | Annual
| Secondary | 0.91907 | 0.92345 | 0.92138
| Primary | 0.94876 | 0.95718 | 0.95323
| Sub-Transmission | 0.96336 | 0.97193 | 0.96757
| Transmission | 0.9712 | 0.9712 | 0.9712
Application of Loss Factors
MWh to be provided = (MWh at meter) / (applicable loss factor)
Weighted Average Loss Factors by Class
Small Class |  |  | Total Class | SO @ Aug '03
| % of Class @ Secondary Voltage |  | 100% | 100%
Small Class Weighted Average Loss Factor |  |  | 0.92138 | 0.92138
Medium Class |  |  | Total Class | SO @ Aug '03
| % of Class @ Secondary Voltage |  | 89.2% | 99.26%
| % of Class @ Primary Voltage |  | 10.8% | 0.7378%
|  |  | 100% | 100%
Medium Class Weighted Average Loss Factor |  |  | 0.92482 | 0.92162
Large Class |  |  | Total Class | SO @ Aug '03
| % of Class @ Secondary |  | 2.644% | 0%
| % of Class @ Primary |  | 11.18% | 0%
| % of Class @ Sub-Transmission |  | 27.09% | 100%
| % of Class @ Transmission |  | 59.09% | 0%
|  |  | 100% | 100%
Large Class Weighted Average Loss Factor |  |  | 0.96689 | 0.96757
(The weighted averages shown above for the medium and large classes reflect
relative loads during a recent historic period. Actual relative loads and, thus, class
loss factors during the term of SO service can vary.)