## Summary
VERSANT POWER
LARGE STANDARD OFFER GROUP
Note : Hourly loads include losses and unaccounted for energy (UFE), and are taken from the Daily Settlements
Note : Data in kWs
Note : Peak hours = weekdays HE08 - HE23; Off-Peak hours = weekdays HE01 - HE07 and HE24 & weekends/holidays HE01 - HE24
STDOFFER CUSTOMERS ONLY
TOTAL LARGE STANDARD OFFER CLASS
|  | LARGE PRIMARY |  |  | LARGE SUB-TRANSMISSION |  |  | LARGE TRANSMISSION |  |  | Standard Offer Customers Only
Month | Year | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2019 | 333456 | 365613 | 699069 | 866162 | 1042649 | 1908811 | 157474 | 123485 | 280959 | 1357092 | 1531747 | 2888839
February | 2019 | 311688 | 315783 | 627471 | 1124701 | 1249018 | 2373719 | 74864 | 76833 | 151697 | 1511253 | 1641634 | 3152887
March | 2019 | 355516 | 320373 | 675889 | 1299387 | 1341924 | 2641311 | 52791 | 37855 | 90646 | 1707694 | 1700152 | 3407846
April | 2019 | 303276 | 343189 | 646465 | 886384 | 1065567 | 1951951 | 58292 | 29790 | 88082 | 1247952 | 1438546 | 2686498
May | 2019 | 434152 | 380761 | 814913 | 995709 | 983193 | 1978902 | 272656 | 258270 | 530926 | 1702517 | 1622224 | 3324741
June | 2019 | 469347 | 418366 | 887713 | 1325839 | 1324357 | 2650196 | 164727 | 131534 | 296261 | 1959913 | 1874257 | 3834170
July | 2019 | 474335 | 543998 | 1018333 | 1728935 | 2185923 | 3914858 | 166205 | 228588 | 394793 | 2369475 | 2958509 | 5327984
August | 2019 | 779538 | 593690 | 1373228 | 2407236 | 2330875 | 4738111 | 218739 | 199711 | 418450 | 3405513 | 3124276 | 6529789
September | 2019 | 543498 | 513434 | 1056932 | 2372689 | 2730220 | 5102909 | 195789 | 189714 | 385503 | 3111976 | 3433368 | 6545344
October | 2019 | 490041 | 477048 | 967089 | 2732946 | 3210328 | 5943274 | 90592 | 125844 | 216436 | 3313579 | 3813220 | 7126799
November | 2019 | 520311 | 545032 | 1065343 | 2323298 | 2845437 | 5168735 | 111110 | 113061 | 224171 | 2954719 | 3503530 | 6458249
December | 2019 | 535557 | 648418 | 1183975 | 2975948 | 4025659 | 7001607 | 125320 | 101203 | 226523 | 3636825 | 4775280 | 8412105
January | 2020 | 536936 | 542495 | 1079431 | 2841269 | 3206868 | 6048137 | 154446 | 187624 | 342070 | 3532651 | 3936987 | 7469638
February | 2020 | 514434 | 490204 | 1004638 | 3202695 | 3682221 | 6884916 | 101767 | 132693 | 234460 | 3818896 | 4305118 | 8124014
March | 2020 | 429740 | 479779 | 909519 | 1862629 | 2229767 | 4092396 | 70878 | 88783 | 159661 | 2363247 | 2798329 | 5161576
April | 2020 | 395230 | 389387 | 784617 | 2141136 | 2458354 | 4599490 | 186371 | 206451 | 392822 | 2722737 | 3054192 | 5776929
May | 2020 | 396380 | 371694 | 768074 | 2643362 | 2666267 | 5309629 | 134829 | 178829 | 313658 | 3174571 | 3216790 | 6391361
June | 2020 | 358977 | 388766 | 747743 | 2288279 | 3000832 | 5289111 | 235257 | 301761 | 537018 | 2882513 | 3691359 | 6573872
July | 2020 | 426944 | 401028 | 827972 | 2279312 | 2492522 | 4771834 | 245355 | 221133 | 466488 | 2951611 | 3114683 | 6066294
|  | 8609356 | 8529058 | 17138414 | 38297916 | 44071981 | 82369897 | 2817462 | 2933162 | 5750624 | 49724734 | 55534201 | 105258935
ALL CUSTOMERS | [10 empty] | TOTAL LARGE STANDARD OFFER CLASS
|  | LARGE PRIMARY |  |  | LARGE SUB-TRANSMISSION |  |  | LARGE TRANSMISSION |  |  | All Customers
Month | Year | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2019 | 4958560 | 5772430 | 10730990 | 2662063 | 3219584 | 5881647 | 519789 | 700094 | 1219883 | 8140412 | 9692108 | 17832520
February | 2019 | 4834607 | 5132152 | 9966759 | 2850469 | 3114834 | 5965303 | 392994 | 462251 | 855245 | 8078070 | 8709237 | 16787307
March | 2019 | 5445558 | 5341036 | 10786594 | 3352177 | 3375770 | 6727947 | 488347 | 528568 | 1016915 | 9286082 | 9245374 | 18531456
April | 2019 | 4723310 | 5714635 | 10437945 | 2653963 | 3277432 | 5931395 | 404573 | 472698 | 877271 | 7781846 | 9464765 | 17246611
May | 2019 | 5423501 | 5195579 | 10619080 | 3098109 | 3019466 | 6117575 | 632145 | 637120 | 1269265 | 9153755 | 8852165 | 18005920
June | 2019 | 5503199 | 5433144 | 10936343 | 3507033 | 3466300 | 6973333 | 546334 | 539816 | 1086150 | 9556566 | 9439260 | 18995826
July | 2019 | 5501353 | 6848988 | 12350341 | 4273482 | 5265292 | 9538774 | 499937 | 1031777 | 1531714 | 10274772 | 13146057 | 23420829
August | 2019 | 7040638 | 6377767 | 13418405 | 6895385 | 6477343 | 13372728 | 658679 | 815521 | 1474200 | 14594702 | 13670631 | 28265333
September | 2019 | 5925738 | 6154275 | 12080013 | 4919831 | 5647866 | 10567697 | 551741 | 706011 | 1257752 | 11397310 | 12508152 | 23905462
October | 2019 | 5801147 | 6037615 | 11838762 | 4942214 | 5509887 | 10452101 | 489787 | 771279 | 1261066 | 11233148 | 12318781 | 23551929
November | 2019 | 5063193 | 5721514 | 10784707 | 3977061 | 4746371 | 8723432 | 456975 | 485628 | 942603 | 9497229 | 10953513 | 20450742
December | 2019 | 4908626 | 6133160 | 11041786 | 4577730 | 6143157 | 10720887 | 478109 | 677216 | 1155325 | 9964465 | 12953533 | 22917998
January | 2020 | 5316004 | 5619786 | 10935790 | 4670399 | 5185201 | 9855600 | 496553 | 632204 | 1128757 | 10482956 | 11437191 | 21920147
February | 2020 | 5143843 | 5287110 | 10430953 | 5033141 | 5635139 | 10668280 | 553832 | 636302 | 1190134 | 10730816 | 11558551 | 22289367
March | 2020 | 4674700 | 5571339 | 10246039 | 3710254 | 4449427 | 8159681 | 445767 | 547654 | 993421 | 8830721 | 10568420 | 19399141
April | 2020 | 4237325 | 4408050 | 8645375 | 4022804 | 4349530 | 8372334 | 516661 | 578101 | 1094762 | 8776790 | 9335681 | 18112471
May | 2020 | 4463280 | 4370580 | 8833860 | 4868341 | 4736220 | 9604561 | 447828 | 499813 | 947641 | 9779449 | 9606613 | 19386062
June | 2020 | 4337414 | 5074067 | 9411481 | 4709580 | 5599336 | 10308916 | 532625 | 745299 | 1277924 | 9579619 | 11418702 | 20998321
July | 2020 | 5183031 | 5477896 | 10660927 | 5048133 | 5384042 | 10432175 | 661498 | 985423 | 1646921 | 10892662 | 11847361 | 22740023
|  | 98485027 | 105671123 | 204156150 | 79772169 | 88602197 | 168374366 | 9774174 | 12452775 | 22226949 | 188031370 | 206726095 | 394757465
Non-Coincident Peak by Month
|  | STANDARD OFFER CUSTOMERS ONLY |  |  | ALL CUSTOMERS
Month | Year | Peak | Date | Hr Ending | Peak | Date | Hr Ending
January | 2019 | 9323 | 2019-01-29 | 13 | 31907 | 2019-01-29 | 13
February | 2019 | 8718 | 2019-02-06 | 15 | 32576 | 2019-02-06 | 15
March | 2019 | 9663 | 2019-03-27 | 10 | 33632 | 2019-03-27 | 10
April | 2019 | 8605 | 2019-04-12 | 10 | 31340 | 2019-04-12 | 10
May | 2019 | 8729 | 2019-05-23 | 11 | 33327 | 2019-05-23 | 11
June | 2019 | 9884 | 2019-06-29 | 14 | 37353 | 2019-06-19 | 10
July | 2019 | 14415 | 2019-07-18 | 15 | 44150 | 2019-07-30 | 13
August | 2019 | 14533 | 2019-08-29 | 11 | 52887 | 2019-08-20 | 12
September | 2019 | 17772 | 2019-09-01 | 13 | 48918 | 2019-09-03 | 13
October | 2019 | 14182 | 2019-10-21 | 11 | 40667 | 2019-10-21 | 11
November | 2019 | 15411 | 2019-11-27 | 15 | 38329 | 2019-11-12 | 13
December | 2019 | 19019 | 2019-12-11 | 17 | 42615 | 2019-12-17 | 16
January | 2020 | 19145 | 2020-01-18 | 17 | 42060 | 2020-01-13 | 13
February | 2020 | 18868 | 2020-02-09 | 12 | 41910 | 2020-02-14 | 13
March | 2020 | 12413 | 2020-03-12 | 13 | 35814 | 2020-03-12 | 16
April | 2020 | 17632 | 2020-04-08 | 1 | 35372 | 2020-04-07 | 10
May | 2020 | 14245 | 2020-05-13 | 17 | 36529 | 2020-05-28 | 15
June | 2020 | 16575 | 2020-06-06 | 21 | 39021 | 2020-06-23 | 10
July | 2020 | 13638 | 2020-07-01 | 14 | 43457 | 2020-07-30 | 9