## System Losses
CMP System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
|  | Winter | Non-Winter | Average
| Secondary | 0.07652 | 0.06445 | 0.07306
| Primary | 0.03457 | 0.03085 | 0.03412
| Sub-Transmission | 0.02357 | 0.01969 | 0.0214
| Transmission | 0.00088 | 0.00078 | 0.00084
Winter (October -May)
Non-Winter (June - September)
Weighted Average Loss Factors by Class
(Based on recent usage by voltage level of service.)
Small Class |  |  | Total Class | SO Only
| % of Class @ Secondary Voltage |  | 100% | 100%
Small Class Weighted Average Loss Factor |  |  | 0.07306 | 0.07306
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)
Example: | Usage @ meter =700 MWh
Total MWh to be provided = 700 x (1+loss factor)