## Summary_by_Month
BANGOR HYDRO-ELECTRIC COMPANY
Large Standard Offer Group
Loads are measured at the meter and do not include losses.
STDOFFER CUSTOMERS ONLY*
|  |  | Primary Voltage Customers |  |  | Subtransmission Voltage Customers |  |  | Transmission Voltage Customers |  |  | Total Large StdOffer Group, SO Customers Only
Month | Year |  | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2008 |  | 491440 | 406322 | 897762 | 935956 | 873583 | 1809539 | 15124 | 2603 | 17727 | 1442520 | 1282508 | 2725028
February | 2008 |  | 424775 | 387062 | 811837 | 710526 | 713596 | 1424122 | 6136 | 14026 | 20162 | 1141437 | 1114684 | 2256121
March | 2008 |  | 431509 | 494501 | 926010 | 809692 | 848358 | 1658050 | 4436 | 14870 | 19306 | 1245637 | 1357729 | 2603366
April | 2008 |  | 431414 | 387204 | 818618 | 734501 | 726568 | 1461069 | 26532 | 43032 | 69564 | 1192447 | 1156804 | 2349251
May | 2008 |  | 396427 | 369845 | 766272 | 769408 | 848459 | 1617867 | 21684 | 29014 | 50698 | 1187519 | 1247318 | 2434837
June | 2008 |  | 441372 | 416107 | 857479 | 935825 | 793702 | 1729527 | 3100 | 4546 | 7646 | 1380297 | 1214355 | 2594652
July | 2008 |  | 611441 | 429584 | 1041025 | 725982 | 623292 | 1349274 | 14009 | 74 | 14083 | 1351432 | 1052950 | 2404382
August | 2008 |  | 1133368 | 1145608 | 2278976 | 2290948 | 2219152 | 4510100 | 63099 | 42227 | 105326 | 3487415 | 3406987 | 6894402
September | 2008 |  | 634549 | 532926 | 1167475 | 782058 | 686190 | 1468248 | 5086 | 915 | 6001 | 1421693 | 1220031 | 2641724
October | 2008 |  | 452085 | 409663 | 861748 | 914800 | 550428 | 1465228 | 18190 | 38486 | 56676 | 1385075 | 998577 | 2383652
November | 2008 |  | 348629 | 533858 | 882487 | 707030 | 795793 | 1502823 | 9090 | 3936 | 13026 | 1064749 | 1333587 | 2398336
December | 2008 |  | 392911 | 379800 | 772711 | 748115 | 754340 | 1502455 | 128277 | 198206 | 326483 | 1269303 | 1332346 | 2601649
January | 2009 |  | 366557 | 425442 | 791999 | 554624 | 632793 | 1187417 | 87451 | 146985 | 234436 | 1008632 | 1205220 | 2213852
February | 2009 |  | 387411 | 377353 | 764764 | 565323 | 527650 | 1092973 | 55068 | 67717 | 122785 | 1007802 | 972720 | 1980522
March | 2009 |  | 493880 | 407329 | 901209 | 916498 | 789210 | 1705708 | 62688 | 74279 | 136967 | 1473066 | 1270818 | 2743884
|  |  | 7437768 | 7102604 | 14540372 | 13101286 | 12383114 | 25484400 | 519970 | 680916 | 1200886 | 21059024 | 20166634 | 41225658
ALL CUSTOMERS
|  |  | Primary Voltage |  |  | Subtransmission Loads |  |  | Transmission Loads |  |  | Total Large StdOffer Group, All Customers
Month | Year |  | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2008 |  | 5921838 | 5083150 | 11004988 | 7530116 | 8066459 | 15596575 | 1192064 | 1979204 | 3171268 | 14644018 | 15128813 | 29772831
February | 2008 |  | 5523525 | 4989867 | 10513392 | 6583081 | 7240818 | 13823899 | 1455267 | 2315798 | 3771065 | 13561873 | 14546483 | 28108356
March | 2008 |  | 5544397 | 5194058 | 10738455 | 6424264 | 7492081 | 13916345 | 1214435 | 2263821 | 3478256 | 13183096 | 14949960 | 28133056
April | 2008 |  | 5729512 | 4986757 | 10716269 | 7085535 | 7762950 | 14848485 | 856088 | 1431717 | 2287805 | 13671135 | 14181424 | 27852559
May | 2008 |  | 5583921 | 5017479 | 10601400 | 7051831 | 7985151 | 15036982 | 1079452 | 1877493 | 2956945 | 13715204 | 14880123 | 28595327
June | 2008 |  | 5997194 | 5071618 | 11068812 | 7678685 | 8676570 | 16355255 | 1161462 | 1845115 | 3006577 | 14837341 | 15593303 | 30430644
July | 2008 |  | 7032531 | 5647006 | 12679537 | 6797924 | 7504649 | 14302573 | 962995 | 1792930 | 2755925 | 14793450 | 14944585 | 29738035
August | 2008 |  | 6944033 | 6515360 | 13459393 | 8901760 | 9973933 | 18875693 | 1250784 | 1852079 | 3102863 | 17096577 | 18341372 | 35437949
September | 2008 |  | 6676846 | 5755496 | 12432342 | 7226159 | 7723438 | 14949597 | 960283 | 1607046 | 2567329 | 14863288 | 15085980 | 29949268
October | 2008 |  | 6594261 | 5586034 | 12180295 | 6633122 | 6657152 | 13290274 | 787870 | 1543171 | 2331041 | 14015253 | 13786357 | 27801610
November | 2008 |  | 5245414 | 6146985 | 11392399 | 5676421 | 8148808 | 13825229 | 862059 | 2007525 | 2869584 | 11783894 | 16303318 | 28087212
December | 2008 |  | 5963581 | 5167891 | 11131472 | 6465006 | 7050507 | 13515513 | 1337545 | 1987164 | 3324709 | 13766132 | 14205562 | 27971694
January | 2009 |  | 5760249 | 5870198 | 11630447 | 5709506 | 7262642 | 12972148 | 1349235 | 2203151 | 3552386 | 12818990 | 15335991 | 28154981
February | 2009 |  | 5628123 | 5245613 | 10873736 | 5216916 | 5996091 | 11213007 | 969966 | 1844188 | 2814154 | 11815005 | 13085892 | 24900897
March | 2009 |  | 6290500 | 5190364 | 11480864 | 6500230 | 6811925 | 13312155 | 1179395 | 2045998 | 3225393 | 13970125 | 14048287 | 28018412
|  |  | 90435925 | 81467876 | 171903801 | 101480556 | 114353174 | 215833730 | 16618900 | 28596400 | 45215300 | 208535381 | 224417450 | 432952831
nb: peak hours = weekdays, HE08 - HE23
off-peak = weekdays, HE01 - HE07 plus HE24; weekends/holidays, HE01 - HE24
Non-Coincident Peak by Month
|  |  | Large StdOffer Group, StdOffer Customers Only* |  |  | Large StdOffer Group, All Customers
Month | Year |  | Peak | Date | Hr Ending | Peak | Date | Hr Ending
January | 2008 |  | 10413 | 29th | 11:00 | 50756 | 29th | 10:00
February | 2008 |  | 7178 | 7th | 06:00 | 49230 | 6th | 11:00
March | 2008 |  | 12862 | 6th | 13:00 | 50797 | 6th | 13:00
April | 2008 |  | 6989 | 10th | 11:00 | 50047 | 10th | 11:00
May | 2008 |  | 7610 | 10th | 24:00 | 50131 | 15th | 16:00
June | 2008 |  | 8995 | 6th | 11:00 | 55952 | 14th | 21:00
July | 2008 |  | 9103 | 31st | 13:00 | 54154 | 29th | 14:00
August | 2008 |  | 13590 | 8th | 22:00 | 67657 | 27th | 16:00
September | 2008 |  | 10036 | 2nd | 16:00 | 55916 | 4th | 14:00
October | 2008 |  | 6101 | 6th | 13:00 | 47959 | 28th | 07:00
November | 2008 |  | 6067 | 3rd | 10:00 | 49642 | 4th | 11:00
December | 2008 |  | 6108 | 22nd | 07:00 | 50382 | 4th | 13:00
January | 2009 |  | 5725 | 28th | 11:00 | 52331 | 16th | 11:00
February | 2009 |  | 6376 | 26th | 11:00 | 44176 | 10th | 14:00
March | 2009 |  | 10909 | 18th | 11:00 | 78783 | 18th | 11:00
* StdOffer Customers are those customers expected, as of 31-Mar-2009, to be served under Standard Offer.