## Sheet1
BHE System Losses
(These system losses exclude losses over PTF facilities)
Loss Factors by Voltage Level
Average
|  | Secondary | 0.10989
|  | Primary | 0.0595
|  | Sub-Transmission | 0.0306
|  | Transmission | 0.0162
Weighted Average Loss Factors by Class
(Based on 2005 Usage)
Medium Class |  |  | Total Class | SO Only
|  | % of Class @ Secondary Voltage | 85% | 88.8%
|  | % of Class @ Primary Voltage | 15% | 11.2%
|  |  | 100% | 100%
Medium Class Weighted Average Loss Factor |  |  | 0.10233 | 0.10425
Large Class |  |  | Total Class | SO Only
|  | % of Class @ Secondary | 0% | 0%
|  | % of Class @ Primary | 36.8% | 38.7%
|  | % of Class @ Sub-Transmission | 47.1% | 48.7%
|  | % of Class @ Transmission | 16.1% | 12.6%
|  |  | 100% | 100%
Large Class Weighted Average Loss Factor |  |  | 0.038917 | 0.03997
Application of Loss Factors
Total MWh to be provided = (1+loss factor) x (MWh measured at meter)
Example: | Usage @ meter = 9,700 MWh
| Total MWh to be provided = 9,700 x (1+.1099) = |  | 10766.03