## Consumption_by_Month
BANGOR HYDRO-ELECTRIC COMPANY
Large Standard Offer Group
Loads are measured at the meter and do not include losses.
STDOFFER CUSTOMERS ONLY*
|  |  | Primary Voltage Customers |  |  | Subtransmission Voltage Customers |  |  | Transmission Voltage Customers |  |  | Total Large StdOffer Group, SO Customers Only
Month | Year |  | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2012 |  | 5135 | 8568 | 13703 | 375398 | 401998 | 777396 | 55245 | 75459 | 130704 | 435778 | 486025 | 921803
February | 2012 |  | 3808 | 6756 | 10564 | 292488 | 389428 | 681916 | 66161 | 36935 | 103096 | 362457 | 433119 | 795576
March | 2012 |  | 11404 | 7121 | 18525 | 321980 | 354428 | 676408 | 71028 | 59511 | 130539 | 404412 | 421060 | 825472
April | 2012 |  | 15327 | 126287 | 141614 | 429348 | 477870 | 907218 | 42444 | 45633 | 88077 | 487119 | 649790 | 1136909
May | 2012 |  | 16251 | 58525 | 74776 | 1510057 | 1647358 | 3157415 | 72165 | 68823 | 140988 | 1598473 | 1774706 | 3373179
June | 2012 |  | 15375 | 6263 | 21638 | 529732 | 527461 | 1057193 | 30463 | 54263 | 84726 | 575570 | 587987 | 1163557
July | 2012 |  | 79211 | 130608 | 209819 | 533877 | 538311 | 1072188 | 56761 | 71852 | 128613 | 669849 | 740771 | 1410620
August | 2012 |  | 288970 | 182345 | 471315 | 2076883 | 2017583 | 4094466 | 67598 | 67029 | 134627 | 2433451 | 2266957 | 4700408
September | 2012 |  | 7963 | 14725 | 22688 | 572806 | 631553 | 1204359 | 39374 | 43478 | 82852 | 620143 | 689756 | 1309899
October | 2012 |  | 15018 | 118646 | 133664 | 695099 | 566502 | 1261601 | 82329 | 84745 | 167074 | 792446 | 769893 | 1562339
November | 2012 |  | 7332 | 8844 | 16176 | 602718 | 574242 | 1176960 | 220519 | 218792 | 439311 | 830569 | 801878 | 1632447
December | 2012 |  | 7396 | 10493 | 17889 | 358851 | 477124 | 835975 | 33973 | 74975 | 108948 | 400220 | 562592 | 962812
January | 2013 |  | 81429 | 32660 | 114089 | 454333 | 585449 | 1039782 | 43758 | 28443 | 72201 | 579520 | 646552 | 1226072
February | 2013 |  | 7148 | 9123 | 16271 | 1059238 | 1118711 | 2177949 | 121550 | 144113 | 265663 | 1187936 | 1271947 | 2459883
March | 2013 |  | 8040 | 22447 | 30487 | 474905 | 471225 | 946130 | 113628 | 190760 | 304388 | 596573 | 684432 | 1281005
April | 2013 |  | 13038 | 104359 | 117397 | 1397817 | 1304147 | 2701964 | 25292 | 76971 | 102263 | 1436147 | 1485477 | 2921624
May | 2013 |  | 10848 | 6978 | 17826 | 627857 | 618280 | 1246137 | 50334 | 45026 | 95360 | 689039 | 670284 | 1359323
June | 2013 |  | 18356 | 8570 | 26926 | 1358840 | 1186364 | 2545204 | 55564 | 63373 | 118937 | 1432760 | 1258307 | 2691067
July | 2013 |  | 79067 | 50180 | 129247 | 813739 | 739623 | 1553362 | 100978 | 60152 | 161130 | 993784 | 849955 | 1843739
August | 2013 |  | 251727 | 165872 | 417599 | 701406 | 657162 | 1358568 | 42219 | 62983 | 105202 | 995352 | 886017 | 1881369
September | 2013 |  | 15806 | 22915 | 38721 | 585432 | 621497 | 1206929 | 49124 | 45156 | 94280 | 650362 | 689568 | 1339930
|  |  | 958649 | 1102285 | 2060934 | 15772804 | 15906316 | 31679120 | 1440507 | 1618472 | 3058979 | 18171960 | 18627073 | 36799033
ALL CUSTOMERS
|  |  | Primary Voltage |  |  | Subtransmission Loads |  |  | Transmission Loads |  |  | Total Large StdOffer Group, All Customers
Month | Year |  | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh | Peak kWh | Off-Pk kWh | Total kWh
January | 2012 |  | 5153232 | 4855306 | 10008538 | 5375954 | 6219789 | 11595743 | 135923 | 480151 | 616074 | 10665109 | 11555246 | 22220355
February | 2012 |  | 5073738 | 4657165 | 9730903 | 4874260 | 5523687 | 10397947 | 87347 | 288685 | 376032 | 10035345 | 10469537 | 20504882
March | 2012 |  | 5534020 | 4691167 | 10225187 | 5835638 | 6069725 | 11905363 | 585354 | 761333 | 1346687 | 11955012 | 11522225 | 23477237
April | 2012 |  | 5053486 | 4925329 | 9978815 | 5426249 | 6248433 | 11674682 | 425236 | 748493 | 1173729 | 10904971 | 11922255 | 22827226
May | 2012 |  | 5479812 | 4676237 | 10156049 | 7356531 | 7840290 | 15196821 | 350661 | 898408 | 1249069 | 13187004 | 13414935 | 26601939
June | 2012 |  | 5458047 | 4686877 | 10144924 | 6447467 | 6830493 | 13277960 | 347415 | 693108 | 1040523 | 12252929 | 12210478 | 24463407
July | 2012 |  | 5887421 | 5464558 | 11351979 | 6728290 | 7604287 | 14332577 | 208870 | 636752 | 845622 | 12824581 | 13705597 | 26530178
August | 2012 |  | 7746263 | 5931881 | 13678144 | 10917131 | 10572031 | 21489162 | 165948 | 682969 | 848917 | 18829342 | 17186881 | 36016223
September | 2012 |  | 5479055 | 5551888 | 11030943 | 5800318 | 7624725 | 13425043 | 194164 | 898088 | 1092252 | 11473537 | 14074701 | 25548238
October | 2012 |  | 6096768 | 5174316 | 11271084 | 6719020 | 6709268 | 13428288 | 462167 | 671747 | 1133914 | 13277955 | 12555331 | 25833286
November | 2012 |  | 5530357 | 4788978 | 10319335 | 5970938 | 6321778 | 12292716 | 585103 | 832699 | 1417802 | 12086398 | 11943455 | 24029853
December | 2012 |  | 5007009 | 5158914 | 10165923 | 5211939 | 6710957 | 11922896 | 412113 | 703564 | 1115677 | 10631061 | 12573435 | 23204496
January | 2013 |  | 5576385 | 5207422 | 10783807 | 5452778 | 6453924 | 11906702 | 333218 | 571273 | 904491 | 11362381 | 12232619 | 23595000
February | 2013 |  | 4927630 | 4628708 | 9556338 | 5800897 | 6609117 | 12410014 | 620450 | 763231 | 1383681 | 11348977 | 12001056 | 23350033
March | 2013 |  | 5217664 | 4929336 | 10147000 | 5722876 | 6593173 | 12316049 | 535392 | 867694 | 1403086 | 11475932 | 12390203 | 23866135
April | 2013 |  | 5337744 | 4751634 | 10089378 | 6875160 | 7162575 | 14037735 | 363092 | 819237 | 1182329 | 12575996 | 12733446 | 25309442
May | 2013 |  | 5648946 | 4684050 | 10332996 | 6736471 | 6839858 | 13576329 | 494561 | 723015 | 1217576 | 12879978 | 12246923 | 25126901
June | 2013 |  | 5392455 | 5217679 | 10610134 | 6854264 | 7782099 | 14636363 | 430832 | 646883 | 1077715 | 12677551 | 13646661 | 26324212
July | 2013 |  | 6408517 | 5469603 | 11878120 | 7189059 | 7548802 | 14737861 | 406728 | 748112 | 1154840 | 14004304 | 13766517 | 27770821
August | 2013 |  | 7339432 | 5837883 | 13177315 | 9252007 | 9359543 | 18611550 | 376119 | 583802 | 959921 | 16967558 | 15781228 | 32748786
September | 2013 |  | 5926230 | 5470704 | 11396934 | 6082868 | 7055909 | 13138777 | 419674 | 562746 | 982420 | 12428772 | 13089359 | 25518131
|  |  | 119274211 | 106759635 | 226033846 | 136630115 | 149680463 | 286310578 | 7940367 | 14581990 | 22522357 | 263844693 | 271022088 | 534866781
nb: peak hours = weekdays, HE08 - HE23
off-peak = weekdays, HE01 - HE07 plus HE24; weekends/holidays, HE01 - HE24
Non-Coincident Peak by Month
|  |  | Large StdOffer Group, StdOffer Customers Only* |  |  | Large StdOffer Group, All Customers
Month | Year |  | Peak | Date | Hr Ending | Peak | Date | Hr Ending
January | 2012 |  | 7304 | 17th | 16:00 | 38517 | 17th | 16:00
February | 2012 |  | 5309 | 1st | 04:00 | 36532 | 15th | 16:00
March | 2012 |  | 2880 | 23rd | 14:00 | 43174 | 22nd | 12:00
April | 2012 |  | 8609 | 8th | 19:00 | 41066 | 30th | 12:00
May | 2012 |  | 13186 | 13th | 12:00 | 46041 | 8th | 11:00
June | 2012 |  | 11372 | 25th | 21:00 | 42886 | 25th | 21:00
July | 2012 |  | 9045 | 8th | 05:00 | 52093 | 25th | 14:00
August | 2012 |  | 13486 | 29th | 12:00 | 59244 | 29th | 14:00
September | 2012 |  | 9956 | 16th | 21:00 | 50860 | 7th | 09:00
October | 2012 |  | 8177 | 3rd | 14:00 | 48053 | 4th | 14:00
November | 2012 |  | 9340 | 7th | 11:00 | 45518 | 7th | 11:00
December | 2012 |  | 7182 | 10th | 07:00 | 43976 | 6th | 11:00
January | 2013 |  | 6872 | 10th | 09:00 | 43596 | 29th | 14:00
February | 2013 |  | 9943 | 22nd | 14:00 | 44982 | 7th | 13:00
March | 2013 |  | 8677 | 13th | 12:00 | 44886 | 13th | 12:00
April | 2013 |  | 14528 | 25th | 14:00 | 52104 | 25th | 14:00
May | 2013 |  | 6855 | 28th | 05:00 | 44058 | 7th | 16:00
June | 2013 |  | 15337 | 17th | 15:00 | 53113 | 17th | 15:00
July | 2013 |  | 11380 | 9th | 16:00 | 49810 | 30th | 11:00
August | 2013 |  | 10278 | 13th | 6:00 | 65065 | 14th | 13:00
September | 2013 |  | 10079 | 10th | 9:00 | 48747 | 16th | 12:00
* StdOffer Customers are those customers expected, as of 30-Sep-2013, to be served under Standard Offer.