Chapter 517:	CERTIFICATION OF PERSONS SERVICING AND REPAIRING SANITARY WASTE TREATMENT FACILITIES

SUMMARY:  These rules establish the procedures by which persons may demonstrate the ability and knowledge necessary to service small (less than 3000 gallons per day) mechanical sanitary waste treatment facilities and obtain a certificate attesting to that ability and knowledge.

1.	3000 Gallons Per Day or Less.  Any individual wishing to engage in the business of servicing and repairing small "Home-Type" mechanical sanitary waste treatment facilities with capacities up to 3000 gallons per day must be certified by the Department of Environmental Protection.

2.	More than 3000 Gallons Per Day.  	Individuals wishing to service wastewater treatment units of a capacity greater than 3000 gallons per day must hold a valid wastewater treatment plant operators certificate of the appropriate grade.

3.	Certification Procedures.  	All applicants for certification shall satisfactorily demonstrate to the Department of Environmental Protection the applicants knowledge of package treatment plant operation.  Such demonstrations shall include the applicant's education and experience as well as a written examination prepared by the Department.

Any applicant who fails to pass the written examination or who for any other reason is denied certification may reapply at any time.  Examination will be administered at least twice annually.

Letters of certification will be issued to successful applicants.  Certification shall not in any way warrant or guarantee any work performed by the persons certified.

Certification may be revoked, modified or suspended in accordance with 38 M.R.S.A. Section 341-D(3).

4.	Exemption.  Individuals holding Class II or above municipal treatment plant operator's licenses are exempt from this regulation and may service plants of less than 3000 gallons per day as long as they continue to hold a valid municipal treatment plant operator's license.

5.	Effective Date.  This regulation shall be effective upon the date of filing with the Secretary of State.

AUTHORITY:  	38 MRSA Section 361

EFFECTIVE DATE:  	August 3, 1976

EFFECTIVE DATE (ELECTRONIC CONVERSION):	May 4, 1996

BASIS STATEMENT

These rules are intended to provide small treatment plant owner with some assurance that persons claiming to be able to service and repair small treatment plants have demonstrated that ability througha testing program.