Chapter 580:	REGULATIONS RELATING TO SAMPLING PROCEDURES AND ANALYTICAL PROCEDURES

SUMMARY: This rule establishes standards whereby all sampling and analysis will be performed according to accepted technical procedures for chemical and biological analysis.

1.	Chemical Sampling Procedures.  The latest edition of the following publications will be used as standards for sample collection, preservation, and analysis.

A.	Standard Methods for the Examination of Water and Wastewaters, American Public Health Association, New York, N.Y.

B.	A.S.T.M. Standards, Part 23, Water; Atmospheric Analysis; American Society of Testing and Materials; Philadelphia, PA.

C.	Methods for Chemical Analysis of Water and Wastes, Environmental Protection Agency Water Quality Office, Analytical Quality Control Laboratory, 1014 Broadway, Cincinnati, Ohio.

2.	Collection and Analysis of Water Samples for Bacterial Content.  Samples shall be surface grabs collected and analyzed in accordance with procedures set forth in the U.S. Environmental Protection Agency publications "Microbiological Methods for Monitoring the Environment" and "Test Methods for Escherichia coli and Enterococci in Water by the Membrane Filter Procedure" except that (1) samples shall be collected from locations where the water depth is at least two feet and (2) refrigerated samples may be held for up to 24 hours prior to analysis.

3.	Assessment of Attainment for Bacteriological Water Quality Standards.  The assessment of whether classified waters are attaining the bacteria standards ascribed to their classification shall be based on the geometric mean of at least twelve samples collected at regular time intervals between May 15th and September 30th and shall be analyzed through use of upper 90% confidence limits incorporating a 0.5 log standard deviation, except that a lesser number of samples may be used for assessment purposes when collected in close proximity to a known point source of residential/municipal wastewater.  Local Health Officers, in cooperation with the Department of Human Services, may use an analysis of any number of samples, including a single instantaneous bacteria level, as the basis for determining whether waters under their jurisdiction should be closed for purposes of recreation in the water.

4-5.	 Reserved

6.	Bioassay Procedures.  Biosassay procedures will be performed according to Department of Environmental Protection Standard methods.

7.	Biomonitoring Methods.  Sampling and evaluation of the resident biological community will be performed according to Department of Environmental Protection approved methods described in the "Methods for Biological Sampling and Analysis of Maine's Waters", 1987.

8.to 10.  Reserved

AUTHORITY:	38 M.R.S.A., Section 343-A and 464(5)

EFFECTIVE DATE:	November 29, 1973

Amended:  March 14, 1977

Amended:  February 18, 1989

EFFECTIVE DATE (ELECTRONIC CONVERSION):	May 4, 1996

______________________________________________

BASIS STATEMENT

In order to maintain an established, standard sampling and analysis program for chemical and biological samples and to provide quality control and continuity among data from which a variety of decisions will be made, methods for sampling and analysis are specified.

Paragraphs 2 and 3 were added to document sampling and analytical methods to be used to implement bacteriological criteria contained in Maine's new Water Classification Program (38 MRSA Section 465).  One comment received was a request to add a phrase "or as superseded by USEPA approved procedures" after "Procedure" in paragraph 2. This has been done.

Substantial comment was received about paragraph 6, Bioassay Procedures, although this regulation has been in existence since 1977 and had not been proposed to be changed at this time.  Comments centered on the fact the regulation is broadly written and refers to no specific document.  Further comment was that the document DEP proposed to reference, Maine's Toxic Pollution Control Strategy (TPCS) was not complete and had not gone through rulemaking.  DEP agrees and will rewrite the TPCS to be comprehensive in controlling the discharge of toxic pollutants and subject to future rulemaking.  The new regulation will include bioassay methods; therefore no changes will be made at this time.

Other comments, related to paragraph 7, Biomonitoring Methods, were that there has been no public or peer review of these methods.  On the contrary these methods were presented to the public at a public meeting on September 30, 1985.  Furthermore the Biomonitoring Methods have received peer review at the 1987 North American Benthological Society Annual Meeting and at EPA's Biocriteria Workshop (December 1987) and National Symposium on Water Quality Assessment (June 1988).  Most importantly the methods have been available for public comment throughout this rulemaking in accordance with 38 MRSA § 464.5.

Another comment was that the Biomonitoring Methods, as the principal means of determining whether or not a discharge would affect a stream or river's classification are inappropriate since they are after-the-fact methods.  In this argument the premise is wrong; DEP uses EPA numerical or site specific criteria to develop license limits to ensure the classification standards for aquatic life are met, whereas biomonitoring is intended to be an ambient monitoring tool to determine if the classification standards for aquatic life are actually being met.

Some felt that these procedures did not protect human health from bioconcentration of toxics in edible fish, and suggested an addition to these regulations, including requirements that fish tissue residue data be supplied by the licensee before or within one year after relicensing.  DEP feels the concept has merit but notes this rule was intended to deal only with the narrow issue of impacts on aquatic organisms.  The human health issue is an important one requiring coordination with the Department of Human Services and will be subject to future rulemaking.