12-		DEPARTMENT OF LABOR

170		BUREAU OF LABOR STANDARDS

Chapter 6:	RULES GOVERNING SANITARY CONDITIONS ON CERTAIN RAILROAD PROPERTY

Summary: The purpose of these rules is to provide reasonable sanitation standards in areas of railroad employment not covered by Federal or other State agencies.

1.0	DEFINITIONS

Bureau - Shall mean the Bureau of Labor Standards.

Commissioner - Shall mean the Commissioner of Labor or his/her designee.

Department - The Maine Department of Labor.

Director - Shall mean the Director of the Bureau of Labor Standards or his/her designee.

Federal Agency - Shall mean specifically the Occupational Safety and Health Administration (OSHA), the Federal Railroad Administration (FRA) and any other federal agency with specific health and sanitation standards relating to railroads that conflicts with these rules.

Railroad - Any railroad company or service that operates within the State of Maine.

2.0	COVERED AREAS

These rules shall apply to all locomotives, caboose cars, and other rolling stock, including camp cars, as well as any other work area in which sanitation is not governed by a federal agency or other state agency operating within the State. These rules do not apply to locomotives used only in yard switching services.

3.0	STANDARDS FOR COVERED AREAS

3.1	General Housekeeping

All covered areas shall be maintained in good order and repair and In a clean and sanitary condition at all tines.

3.2	First Aid Kit

A first aid kit suitable for the number of employees shall be maintained in each locomotive, caboose car and camp car, as well as at other covered defined work areas.

3.3	Drinking Water Supply

A.	An adequate supply of sanitary drinking water shall be available and accessible to employees.

B.	The use of common or shared drinking cups is prohibited. Individual single service paper cups may be used providing they are stored in a clean covered container.

C.	When a drinking fountain Is provided, it shall be so constructed and maintained as to meet the requirements of the State of Maine Plumbing Code.

3.4	Washing Facilities

A wash basin, waterless hand soap, or other suitable cleansing facility for washing hands shall be provided. Soap or other suitable cleansing agent shall be supplied as well as a method to dry oneself. Water used for washing and other non-drinking purposes shall clearly be marked as non-drinkable.

3.5	Toilet Facilities

A.	Shall be maintained to be free of dirt, sand, or water on floor.

B.	Shall not be used for general storage unless materials are secured in a fixed position and do not otherwise inhibit an individuals use of the facilities.

C.	Shall provide personal privacy.

D.	Shall have a source of light.

E.	Shall be ventilated by fan, vent, window, or other appropriate method.

F.	Shall have heating facilities and adequate fuel to maintain comfortable temperature as weather conditions may require.

G.	Shall have an adequate supply of toilet paper.

H.	Shall have a covered waste receptacle.

I.	Shall have a maintenance program for upkeep, repair, and reporting faulty equipment.

J.	Shall have a regular schedule of disposal and cleaning of units that have holding tanks. Tanks should be emptied when they are 2/3 full.

K.	Shall be cleaned when in use, at least daily, and more often as needed.

3.6	Eating facilities

No employee shall be permitted to eat or drink at any time where there is exposure to any industrial poison or other substances that may be harmful or hazardous to an employee's health.

4.0	INSPECTION

A.	The Commissioner, Director, or designees will have the right to enter for the purpose of inspection any covered workplace in the State at any reasonable time upon the presentation of appropriate identification.

B.	Unannounced inspections shall be made from time to time.

C.	The Department will respond to written employee complaints as well as complaints of imminent danger.

D.	Upon arriving at a site for an inspection, the Department representatives will notify management and labor officials of the purpose of their visit and will present to them a preliminary finding of their visit prior to their departure.

E.	Management and labor representatives will be invited to participate In the inspection.

5.0	CITATIONS AND PENALTIES

A.	The Director will issue in writing any citations and penalties resulting from an inspection.

B.	Each citation shall describe the nature of the violation and have a specific time for abatement of the violation.

C.	Citations are to be posted for employee review at or near the place of each violation accessible to employees.

D.	A hearing may be requested in writing to the Director for any citation within 15 days of receiving the citation.

E.	If a railroad can show that other federal or state agencies have applicable sanitation standards relating to a citation and that those standards have been met, the citation will be dropped.

F.	The Director may issue penalties not to exceed $1,000 for each violation. Each day of violation after the abatement date shall constitute a separate violation.

6.0	COLLECTIVE BARGAINING

Although the employer has the ultimate responsibility to provide a safe and healthy workplace, nothing in these rules should be seen as infringing on the right of labor and management to collectively bargain the allocation of duties to promote and maintain healthful and sanitary workplace conditions.

STATUTORY AUTHORITY: 1988 Public Law, Chapter 594 26 M.R.S.A. §§351-354

EFFECTIVE DATE:

July 26, 1989

CONVERTED TO MS WORD:

July 11, 2003