16-219		DEPARTMENT OF PUBLIC SAFETY

OFFICE OF THE STATE FIRE MARSHAL

Chapter 2:	RULES ESTABLISHING CRITERIA FOR APPROVAL OF SMOKE DETECTORS

SUMMARY: These rules require that all smoke detectors used in the State of Maine be tested and listed by Underwriters' Laboratories Inc., or Factory Mutual Research Inc.

1.	RULE NUMBER F.M. 84-2464-1	CRITERIA FOR APPROVAL

Smoke detectors which have secured an approved listing from Underwriters' Laboratories Inc., or Factory Mutual Research Inc., shall be approved for use in the State of Maine.

STATUTORY AUTHORITY: 25 M.R.S.A. §2464 sub-§4-A

EFFECTIVE DATE:

March 27, 1984 - filing 84-86

EFFECTIVE DATE (ELECTRONIC CONVERSION):

May 15, 1996

AMENDED:

August 17, 2002 - filing 2002-309