02	DEPARTMENT OF PROFESSIONAL AND FINANCIAL REGULATION

385	MANUFACTURED HOUSING BOARD

Chapter 940	Used Standard - Thermal Protection

SUMMARY:	This chapter outlines the minimum requirements for thermal protection.

Insulation

The minimum requirements for a home shall be as follows:

1.	Walls - R-11

2.	Roof - R-14

3.	Floor - R-11

A destructive inspection will not be performed to determine the actual amount, however, a thermal scan may be used to determine uniformity of the insulation.

EFFECTIVE DATE: December 12, 1990

EFFECTIVE DATE (ELECTRONIC CONVERSION):	January 11, 1997