02	DEPARTMENT OF PROFESSIONAL AND FINANCIAL REGULATION

385	MANUFACTURED HOUSING BOARD

Chapter 960	Used Standard - Heating and Fuel Burning Systems

SUMMARY:	This chapter covers the heating and fuel burning equipment installed within, on, or external to a manufactured home.

1.	A person holding a master license issued by the State of Maine Oil and Solid Fuel Examining Board shall inspect and certify that the heating and fuel system is in a safe condition and meets the requirements of NFPA-31 Installation of Oil Burning Equipment as adopted by that Board.

2.	Heat-producing appliances and vents, roof jacks and chimneys necessary for installation in manufactured homes shall be listed or certified by a nationally recognized testing agency for use in manufactured homes.

EFFECTIVE DATE:	December 12, 1990

EFFECTIVE DATE (ELECTRONIC CONVERSION):	January 11, 1997